PEARL LCL Filter — Ambient Temperature Simulation Plan

Ambient-temperature sweep across 21 simulations.

Convention

Ambient temperature T_amb is the swept variable, from 0 °C to 100 °C in 5 °C steps. The power factor and apparent power are held fixed across all runs, so any change in component temperature, loss, and lifetime is attributable to T_amb alone. Temperatures are entered in kelvin in the framework (T_amb [K] = T_amb [°C] + 273.15).

Simulation schedule

| Simulation | T_amb input [°C] | T_amb [K] |
| --- | --- | --- |
| Simulation_1 | 0 | 273.15 |
| Simulation_2 | 5 | 278.15 |
| Simulation_3 | 10 | 283.15 |
| Simulation_4 | 15 | 288.15 |
| Simulation_5 | 20 | 293.15 |
| Simulation_6 | 25 | 298.15 |
| Simulation_7 | 30 | 303.15 |
| Simulation_8 | 35 | 308.15 |
| Simulation_9 | 40 | 313.15 |
| Simulation_10 | 45 | 318.15 |
| Simulation_11 | 50 | 323.15 |
| Simulation_12 | 55 | 328.15 |
| Simulation_13 | 60 | 333.15 |
| Simulation_14 | 65 | 338.15 |
| Simulation_15 | 70 | 343.15 |
| Simulation_16 | 75 | 348.15 |
| Simulation_17 | 80 | 353.15 |
| Simulation_18 | 85 | 358.15 |
| Simulation_19 | 90 | 363.15 |
| Simulation_20 | 95 | 368.15 |
| Simulation_21 | 100 | 373.15 |

Notes

- 21 points, every 5 °C, spanning the full 0–100 °C ambient range.

- Power factor and apparent power are fixed for all runs (set these to the operating point of interest, e.g. pf = 1 at rated power); only T_amb changes.

- Single monotonic axis — no sign convention and no two-branch (capacitive/inductive) split as in the pf sweep, so the plotting routine reduces to one curve per component.

- Thermal-limit cutoff: as T_amb rises, each component's core/hotspot temperature rises with it. Once a component exceeds its rated temperature (e.g. the capacitor's T_C_Rated), its lifetime should collapse / the run should flag failure — confirm this is handled so the high-temperature points aren't silently extrapolated beyond the valid range.

- If T_amb is supplied as a time-series array (as in the framework), set every entry of the array to the constant value for each run.