- Power sweep (PF 1.0, 25°C): 100, 75, 50, 25 → 4 runs

- PF sweep (100% power, 25°C): 1.0, 0.9 lag, 0.9 lead → adds 3 runs

So we will be benchmarking against these three things.

The scenarios can be changed as per results.

For the simulation

Run EMT kind of simulation for your benchmarking . Take Vs that is for 0.02 s and is defined by 1000 points and evaluate the IL_1, IL_2, IC, VL_1, VL_2 and VC. Also T_C,T_L1 and TL_2 and losses for 3. I mean you can average out temp and losses values.
For current and voltage you will have to see. Run temp steady state.

Also you can evaluate THD for each of the scenarios.

Also run a longer simulation lets say of 1 min and then choose the last cycle for benchmarking.

Modelling

Just build a voltage generator which will give out Vs and then there will be LCL and R1, R2 and R3 and then there will be a grid.

Do tutorial 101

And 109 and 115 can be good to do.

Now what to compare on the table (From PLECS and for your model)

- RMS of I_L1, I_L2, I_C, V_C, V_L1 and V_L2).

- THD of I_L2 (grid current)

- Phase of the fundamental of I_L2 relative to Vg

- Also compare I_L2 using NRMSE