Reactive Power Cost from Grid-Forming Inverters Considering Inverter Lifetime Assessment

- Focus Area

- We are focusing on grid-forming inverters (GFMs) and not grid-following inverters.

- The study emphasizes dynamic behaviour of GFMs rather than static behaviour.

- Data & Profiles Needed

- We require power factor (pf) profiles, active power dispatch, inverter rating/size, and other operational details.

- While we have access to data from a microgrid in Congo, it is not strictly necessary to use it.

- One approach could be to derive pf profiles and other operational details from asynchronous generators.

- Alternatively, for a simplified case study, we may assume a generator and simulate its dynamic behaviour over a 1-year period. However, using real generator or IBR data would be preferable.

- A potential case study: What if a utility such as E.ON decides to replace its 10 MW synchronous generator with an inverter-based resource (IBR)? How will the inverter’s lifetime be impacted over a 5-year period?

- Economic Assessment (LCOE)

- We also aim to conduct a Levelized Cost of Energy (LCOE) analysis for the inverter.

- The goal can be  to balance lifetime vs. reactive power provision:

  - Providing reactive power now generates revenue.

  - But higher reactive power output accelerates degradation, reducing the inverter’s lifetime and future earning potential.

- The model should optimize this trade-off.

- Lifetime Degradation Factors

- The base paper focuses mainly on semiconductor degradation.

- Our work cna take inspiration from Marco Rondoni’s masterthesis and we can extend this by including other degradation pathways, such as:

  - Capacitors

  - Wires and insulation

  - Passive components

- These factors also affect lifetime and must be integrated into the assessment.

- Main Idea

- The aim is to create a problem statement and modelling framework that reflects challenges faced by renewable energy companies when installing IBRs.

- Specifically, the framework should:

  - Capture the dynamic behaviour of GFMs.

  - Show how lifetime is impacted by grid-forming operation.

  - Provide companies with a tool to assess trade-offs between profitability, grid support, and equipment lifetime before deployment.